## ControlPara
DiscountRate | Load-Shedding Cost(k$/100MW) | REG-Storage Investment Budget(k$) | Line Investment Budget(k$) | Min Profit Recover Ratio Of REG-Storage
0.1 | 500 | 220000 | 100000 | 1

## Generator
GenNo | GenName | BUS | PMAX(100MW) | PMIN(100MW) | RampingUp(100MW/h) | RampingDown(100MW/h) | MaxReserUp(100MW) | MaxReserDown(100MW) | FuelCost(k$/100MWh)
1 | g1 | 101 | 1.52 | 0 | 1.52 | 1.52 | 1.52 | 1.52 | 7.992
2 | g2 | 102 | 1.52 | 0 | 1.52 | 1.52 | 1.52 | 1.52 | 8.492
3 | g3 | 107 | 3.5 | 0 | 3.5 | 3.5 | 3.5 | 3.5 | 12.42
4 | g4 | 113 | 5.91 | 0 | 5.91 | 5.91 | 5.91 | 5.91 | 12.558
5 | g5 | 115 | 2.15 | 0 | 2.15 | 2.15 | 2.15 | 2.15 | 15.666
7 | g6 | 116 | 1.55 | 0 | 1.55 | 1.55 | 1.55 | 1.55 | 6.312
8 | g7 | 118 | 4 | 0 | 4 | 4 | 4 | 4 | 3.612
9 | g8 | 121 | 4 | 0 | 4 | 4 | 4 | 4 | 3.282
10 | g9 | 122 | 3 | 0 | 3 | 3 | 3 | 3 | 6.812
11 | g10 | 123 | 6.6 | 0 | 6.6 | 6.6 | 6.6 | 6.6 | 6.429
1 | g11 | 201 | 1.52 | 0 | 1.52 | 1.52 | 1.52 | 1.52 | 7.992
2 | g12 | 202 | 1.52 | 0 | 1.52 | 1.52 | 1.52 | 1.52 | 8.492
3 | g13 | 207 | 3.5 | 0 | 3.5 | 3.5 | 3.5 | 3.5 | 12.42
4 | g14 | 213 | 5.91 | 0 | 5.91 | 5.91 | 5.91 | 5.91 | 12.558
5 | g15 | 215 | 2.15 | 0 | 2.15 | 2.15 | 2.15 | 2.15 | 15.666
7 | g16 | 216 | 1.55 | 0 | 1.55 | 1.55 | 1.55 | 1.55 | 6.312
8 | g17 | 218 | 4 | 0 | 4 | 4 | 4 | 4 | 3.612
9 | g18 | 221 | 4 | 0 | 4 | 4 | 4 | 4 | 3.282
10 | g19 | 222 | 3 | 0 | 3 | 3 | 3 | 3 | 6.812
11 | g20 | 223 | 6.6 | 0 | 6.6 | 6.6 | 6.6 | 6.6 | 6.429
1 | g21 | 301 | 1.52 | 0 | 1.52 | 1.52 | 1.52 | 1.52 | 7.992
2 | g22 | 302 | 1.52 | 0 | 1.52 | 1.52 | 1.52 | 1.52 | 8.492
3 | g23 | 307 | 3.5 | 0 | 3.5 | 3.5 | 3.5 | 3.5 | 12.42
4 | g24 | 313 | 5.91 | 0 | 5.91 | 5.91 | 5.91 | 5.91 | 12.558
5 | g25 | 315 | 2.15 | 0 | 2.15 | 2.15 | 2.15 | 2.15 | 15.666
7 | g26 | 316 | 1.55 | 0 | 1.55 | 1.55 | 1.55 | 1.55 | 6.312
8 | g27 | 318 | 4 | 0 | 4 | 4 | 4 | 4 | 3.612
9 | g28 | 321 | 4 | 0 | 4 | 4 | 4 | 4 | 3.282
10 | g29 | 322 | 3 | 0 | 3 | 3 | 3 | 3 | 6.812
11 | g30 | 323 | 6.6 | 0 | 6.6 | 6.6 | 6.6 | 6.6 | 6.429

## Wind
GenNo | GenName | BUS | PMAX(100MW) | PMIN(100MW) | Investment COST(k$/100MW) | Life(yr) | Lower Ratio of Storage Capa | Upper Ratio of Storage Capa | Max_Num | Marginal Operation Cost(k$/100MWh)
1 | w1 | 105 | 0.2 | 0 | 100000 | 25 | 0 | 1 | 50 | 0
2 | w2 | 207 | 0.2 | 0 | 100000 | 25 | 0 | 1 | 50 | 0

## Storage
GenNo | GenName | BUS | PMAX(100MW) | EMAX(100MWh) | MINSOC(%) | MAXSOC(%) | INISOC(%) | Self_Discharge_Rate | Energy_to_Power Ratio | Charging_Efficiency(%) | Discharging_Efficiency(%) | Marginal Charge Cost(k$/100MWh) | Marginal Discharge Cost(k$/100MWh) | Investment COST OF POWER(k$/100MW) | Investment COST OF ENERGY(k$/100MWh) | Life(yr) | Max_Num
1 | s1 | 105 | 0.1 | 0.4 | 0.05 | 0.95 | 0.5 | 0 | 4 | 0.95 | 0.95 | 0.1 | 0.1 | 21100 | 18900 | 15 | 20
2 | s2 | 207 | 0.1 | 0.4 | 0.05 | 0.95 | 0.5 | 0 | 4 | 0.95 | 0.95 | 0.1 | 0.1 | 21100 | 18900 | 15 | 20

## Line
LineNo | Status | NumMax | FROM BUS | TO BUS | X(p.u.) | LMAX(100MW) | Investment COST(k$) | Life(yr)
1 | 1 | 3 | 101 | 102 | 0.0146 | 1.3125 | 2850 | 40
2 | 1 | 3 | 101 | 103 | 0.2253 | 1.3125 | 52250 | 40
3 | 0 | 3 | 101 | 105 | 0.0907 | 1 | 20900 | 40
4 | 1 | 3 | 102 | 104 | 0.1356 | 1.3125 | 31350 | 40
5 | 1 | 3 | 102 | 106 | 0.205 | 1.3125 | 47500 | 40
6 | 1 | 3 | 103 | 109 | 0.1271 | 1.3125 | 29450 | 40
7 | 1 | 3 | 103 | 124 | 0.084 | 3 | 47500 | 40
8 | 1 | 3 | 104 | 109 | 0.111 | 1.3125 | 25650 | 40
9 | 0 | 3 | 105 | 110 | 0.094 | 1 | 21850 | 40
10 | 1 | 3 | 106 | 110 | 0.0642 | 1.3125 | 15200 | 40
11 | 1 | 3 | 107 | 108 | 0.0652 | 2.625 | 30400 | 40
12 | 1 | 3 | 108 | 109 | 0.1762 | 1.3125 | 40850 | 40
13 | 1 | 3 | 108 | 110 | 0.1762 | 1.3125 | 40850 | 40
14 | 1 | 3 | 109 | 111 | 0.084 | 3 | 47500 | 40
15 | 1 | 3 | 109 | 112 | 0.084 | 3 | 47500 | 40
16 | 1 | 3 | 110 | 111 | 0.084 | 3 | 47500 | 40
17 | 1 | 3 | 110 | 112 | 0.084 | 3 | 47500 | 40
18 | 1 | 3 | 111 | 113 | 0.0488 | 3.75 | 31350 | 40
19 | 1 | 3 | 111 | 114 | 0.0426 | 3.75 | 27550 | 40
20 | 1 | 3 | 112 | 113 | 0.0488 | 3.75 | 31350 | 40
21 | 1 | 3 | 112 | 123 | 0.0985 | 3.75 | 63650 | 40
22 | 1 | 3 | 113 | 123 | 0.0884 | 3 | 57000 | 40
23 | 1 | 3 | 114 | 116 | 0.0594 | 1.875 | 25650 | 40
24 | 1 | 3 | 115 | 116 | 0.0172 | 3.75 | 11400 | 40
25 | 1 | 3 | 115 | 121 | 0.0249 | 7.5 | 32300 | 40
26 | 1 | 3 | 115 | 124 | 0.0529 | 3.75 | 17100 | 40
27 | 1 | 3 | 116 | 117 | 0.0263 | 3.75 | 15200 | 40
28 | 1 | 3 | 116 | 119 | 0.0234 | 3.75 | 9500 | 40
29 | 1 | 3 | 117 | 118 | 0.0143 | 3.75 | 69350 | 40
30 | 1 | 3 | 117 | 122 | 0.1069 | 3.75 | 17100 | 40
31 | 1 | 3 | 118 | 121 | 0.0132 | 7.5 | 26125 | 40
32 | 1 | 3 | 119 | 120 | 0.0203 | 7.5 | 44650 | 40
33 | 1 | 3 | 120 | 123 | 0.0112 | 7.5 | 31350 | 40
34 | 1 | 3 | 121 | 122 | 0.0692 | 3.75 | 29450 | 40
35 | 1 | 3 | 201 | 202 | 0.0146 | 1.3125 | 2850 | 40
36 | 1 | 3 | 201 | 203 | 0.2253 | 1.3125 | 52250 | 40
37 | 1 | 3 | 201 | 205 | 0.0907 | 1.5 | 20900 | 40
38 | 1 | 3 | 202 | 204 | 0.1356 | 1.3125 | 31350 | 40
39 | 1 | 3 | 202 | 206 | 0.205 | 1.3125 | 47500 | 40
40 | 1 | 3 | 203 | 209 | 0.1271 | 1.3125 | 29450 | 40
41 | 1 | 3 | 203 | 224 | 0.084 | 3 | 47500 | 40
42 | 1 | 3 | 204 | 209 | 0.111 | 1.3125 | 25650 | 40
43 | 1 | 3 | 205 | 210 | 0.094 | 1.5 | 21850 | 40
44 | 1 | 3 | 206 | 210 | 0.0642 | 1.3125 | 15200 | 40
45 | 1 | 3 | 207 | 208 | 0.0652 | 1 | 30400 | 40
46 | 1 | 3 | 208 | 209 | 0.1762 | 1.3125 | 40850 | 40
47 | 1 | 3 | 208 | 210 | 0.1762 | 1.3125 | 40850 | 40
48 | 1 | 3 | 209 | 211 | 0.084 | 3 | 47500 | 40
49 | 1 | 3 | 209 | 212 | 0.084 | 3 | 47500 | 40
50 | 1 | 3 | 210 | 211 | 0.084 | 3 | 47500 | 40
51 | 1 | 3 | 210 | 212 | 0.084 | 3 | 47500 | 40
52 | 1 | 3 | 211 | 213 | 0.0488 | 3.75 | 31350 | 40
53 | 1 | 3 | 211 | 214 | 0.0426 | 3.75 | 27550 | 40
54 | 1 | 3 | 212 | 213 | 0.0488 | 3.75 | 31350 | 40
55 | 1 | 3 | 212 | 223 | 0.0985 | 3.75 | 63650 | 40
56 | 1 | 3 | 213 | 223 | 0.0884 | 3 | 57000 | 40
57 | 1 | 3 | 214 | 216 | 0.0594 | 1.875 | 25650 | 40
58 | 1 | 3 | 215 | 216 | 0.0172 | 3.75 | 11400 | 40
59 | 1 | 3 | 215 | 221 | 0.0249 | 7.5 | 32300 | 40
60 | 1 | 3 | 215 | 224 | 0.0529 | 3.75 | 17100 | 40
61 | 1 | 3 | 216 | 217 | 0.0263 | 3.75 | 15200 | 40
62 | 1 | 3 | 216 | 219 | 0.0234 | 3.75 | 9500 | 40
63 | 1 | 3 | 217 | 218 | 0.0143 | 3.75 | 69350 | 40
64 | 1 | 3 | 217 | 222 | 0.1069 | 3.75 | 17100 | 40
65 | 1 | 3 | 218 | 221 | 0.0132 | 7.5 | 26125 | 40
66 | 1 | 3 | 219 | 220 | 0.0203 | 7.5 | 44650 | 40
67 | 1 | 3 | 220 | 223 | 0.0112 | 7.5 | 31350 | 40
68 | 1 | 3 | 221 | 222 | 0.0692 | 3.75 | 29450 | 40
69 | 1 | 3 | 301 | 302 | 0.0146 | 1.3125 | 2850 | 40
70 | 1 | 3 | 301 | 303 | 0.2253 | 1.3125 | 52250 | 40
71 | 1 | 3 | 301 | 305 | 0.0907 | 1.5 | 20900 | 40
72 | 1 | 3 | 302 | 304 | 0.1356 | 1.3125 | 31350 | 40
73 | 1 | 3 | 302 | 306 | 0.205 | 1.3125 | 47500 | 40
74 | 1 | 3 | 303 | 309 | 0.1271 | 1.3125 | 29450 | 40
75 | 1 | 3 | 303 | 324 | 0.084 | 3 | 47500 | 40
76 | 1 | 3 | 304 | 309 | 0.111 | 1.3125 | 25650 | 40
77 | 1 | 3 | 305 | 310 | 0.094 | 1.5 | 21850 | 40
78 | 1 | 3 | 306 | 310 | 0.0642 | 1.3125 | 15200 | 40
79 | 1 | 3 | 307 | 308 | 0.0652 | 2.625 | 30400 | 40
80 | 1 | 3 | 308 | 309 | 0.1762 | 1.3125 | 40850 | 40
81 | 1 | 3 | 308 | 310 | 0.1762 | 1.3125 | 40850 | 40
82 | 1 | 3 | 309 | 311 | 0.084 | 3 | 47500 | 40
83 | 1 | 3 | 309 | 312 | 0.084 | 3 | 47500 | 40
84 | 1 | 3 | 310 | 311 | 0.084 | 3 | 47500 | 40
85 | 1 | 3 | 310 | 312 | 0.084 | 3 | 47500 | 40
86 | 1 | 3 | 311 | 313 | 0.0488 | 3.75 | 31350 | 40
87 | 1 | 3 | 311 | 314 | 0.0426 | 3.75 | 27550 | 40
88 | 1 | 3 | 312 | 313 | 0.0488 | 3.75 | 31350 | 40
89 | 1 | 3 | 312 | 323 | 0.0985 | 3.75 | 63650 | 40
90 | 1 | 3 | 313 | 323 | 0.0884 | 3 | 57000 | 40
91 | 1 | 3 | 314 | 316 | 0.0594 | 1.875 | 25650 | 40
92 | 1 | 3 | 315 | 316 | 0.0172 | 3.75 | 11400 | 40
93 | 1 | 3 | 315 | 321 | 0.0249 | 7.5 | 32300 | 40
94 | 1 | 3 | 315 | 324 | 0.0529 | 3.75 | 17100 | 40
95 | 1 | 3 | 316 | 317 | 0.0263 | 3.75 | 15200 | 40
96 | 1 | 3 | 316 | 319 | 0.0234 | 3.75 | 9500 | 40
97 | 1 | 3 | 317 | 318 | 0.0143 | 3.75 | 69350 | 40
98 | 1 | 3 | 317 | 322 | 0.1069 | 3.75 | 17100 | 40
99 | 1 | 3 | 318 | 321 | 0.0132 | 7.5 | 26125 | 40
100 | 1 | 3 | 319 | 320 | 0.0203 | 7.5 | 44650 | 40
101 | 1 | 3 | 320 | 323 | 0.0112 | 7.5 | 31350 | 40
102 | 1 | 3 | 321 | 322 | 0.0692 | 3.75 | 29450 | 40
103 | 1 | 3 | 107 | 203 | 0.0692 | 3.75 | 29450 | 40
104 | 1 | 3 | 113 | 215 | 0.0692 | 3.75 | 29450 | 40
105 | 1 | 3 | 123 | 217 | 0.0692 | 3.75 | 29450 | 40
106 | 1 | 3 | 223 | 318 | 0.0692 | 3.75 | 29450 | 40
107 | 1 | 3 | 323 | 325 | 0.0692 | 3.75 | 29450 | 40
108 | 1 | 3 | 325 | 121 | 0.0692 | 3.75 | 29450 | 40
3 | 0 | 3 | 101 | 105 | 0.0907 | 1 | 20900 | 40
9 | 0 | 3 | 105 | 110 | 0.094 | 1 | 21850 | 40
40 | 0 | 3 | 113 | 123 | 0.0884 | 1.5 | 31350 | 40
41 | 0 | 3 | 114 | 116 | 0.0594 | 1.5 | 25650 | 40
40 | 0 | 3 | 207 | 208 | 0.0652 | 1 | 30400 | 40
41 | 0 | 3 | 207 | 208 | 0.0652 | 1 | 30400 | 40
40 | 0 | 3 | 313 | 323 | 0.0884 | 1.5 | 31350 | 40
41 | 0 | 3 | 314 | 316 | 0.0594 | 1.5 | 25650 | 40

## Bus
#Bus
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
301
302
303
304
305
306
307
308
309
310
311
312
313
314
315
316
317
318
319
320
321
322
323
324
325

## Scenario (hidden)
| T1.wind | T2.wind | T3.wind | T4.wind | T5.wind | T6.wind | T7.wind | T8.wind | T9.wind | T10.wind | T11.wind | T12.wind | T13.wind | T14.wind | T15.wind | T16.wind | T17.wind | T18.wind | T19.wind | T20.wind | T21.wind | T22.wind | T23.wind | T24.wind | T1.load | T2.load | T3.load | T4.load | T5.load | T6.load | T7.load | T8.load | T9.load | T10.load | T11.load | T12.load | T13.load | T14.load | T15.load | T16.load | T17.load | T18.load | T19.load | T20.load | T21.load | T22.load | T23.load | T24.load
S1.Bus1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6678 | 1.5563 | 1.5666 | 1.5646 | 1.5103 | 1.5519 | 1.8588 | 2.3071 | 2.4047 | 2.4409 | 2.5903 | 2.3536 | 2.3703 | 2.4161 | 2.4537 | 2.3915 | 2.6003 | 2.4551 | 2.4886 | 2.4303 | 2.3567 | 2.1592 | 1.843 | 1.6002
S1.Bus2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4748 | 1.4569 | 1.4262 | 1.3441 | 1.3116 | 1.393 | 1.6311 | 2.0697 | 2.2588 | 2.2147 | 2.2749 | 2.1606 | 2.1561 | 2.2059 | 2.0419 | 2.2364 | 2.3586 | 2.3303 | 2.3836 | 2.287 | 2.1355 | 1.822 | 1.7627 | 1.4459
S1.Bus3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9023 | 2.7973 | 2.6636 | 2.3985 | 2.4507 | 2.6531 | 3.2235 | 3.5059 | 3.9359 | 4.0885 | 4.1156 | 4.2606 | 4.079 | 4.1663 | 4.1171 | 4.1208 | 4.141 | 4.2404 | 4.431 | 4.0835 | 3.946 | 3.4477 | 3.1718 | 2.825
S1.Bus4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1423 | 1.0829 | 1.0774 | 0.98993 | 0.99969 | 1.1008 | 1.292 | 1.4912 | 1.6351 | 1.6554 | 1.7337 | 1.6477 | 1.6353 | 1.6546 | 1.5728 | 1.5926 | 1.8207 | 1.7384 | 1.7111 | 1.7597 | 1.6828 | 1.5089 | 1.2533 | 1.1376
S1.Bus5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0879 | 1.0662 | 0.97235 | 0.9928 | 0.9829 | 0.99937 | 1.3097 | 1.4739 | 1.5793 | 1.6775 | 1.5573 | 1.5375 | 1.5702 | 1.5942 | 1.5607 | 1.6617 | 1.7192 | 1.6142 | 1.7318 | 1.5489 | 1.6172 | 1.4462 | 1.198 | 1.026
S1.Bus6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1401 | 2.1282 | 1.9167 | 1.9868 | 1.9392 | 2.0221 | 2.4633 | 2.9375 | 3.1617 | 3.0915 | 2.9704 | 2.9596 | 3.2223 | 3.2093 | 3.1641 | 3.0974 | 3.2882 | 3.2188 | 3.4037 | 3.1637 | 2.9402 | 2.6689 | 2.4791 | 2.0906
S1.Bus7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.044 | 1.904 | 1.7475 | 1.7243 | 1.7713 | 1.8737 | 2.2076 | 2.6338 | 2.8487 | 2.8957 | 2.9129 | 2.7055 | 2.7288 | 2.7955 | 2.7176 | 2.943 | 2.8231 | 3.1323 | 2.9697 | 2.8224 | 2.7653 | 2.4855 | 2.1574 | 1.9406
S1.Bus8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7922 | 2.5578 | 2.4056 | 2.376 | 2.3933 | 2.4274 | 2.9837 | 3.6668 | 3.7266 | 3.937 | 3.9691 | 3.7039 | 3.8094 | 3.8486 | 3.6491 | 3.9792 | 3.884 | 4.0714 | 4.0312 | 3.8663 | 3.8826 | 3.3725 | 3.0416 | 2.4974
S1.Bus9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6779 | 2.6552 | 2.4491 | 2.5365 | 2.4075 | 2.527 | 3.1563 | 3.6159 | 4.0977 | 3.8197 | 3.879 | 4.0328 | 3.9489 | 3.7501 | 3.9435 | 3.7318 | 4.0887 | 4.2808 | 4.1928 | 3.9546 | 3.8308 | 3.4573 | 2.9227 | 2.5932
S1.Bus10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1756 | 2.7819 | 2.7199 | 2.6627 | 2.7834 | 2.644 | 3.3858 | 3.8903 | 4.2978 | 4.6336 | 4.2523 | 4.5951 | 4.2396 | 4.3568 | 4.1483 | 4.3062 | 4.4497 | 4.7468 | 4.4188 | 4.6149 | 4.3523 | 3.8711 | 3.4053 | 2.8968
S1.Bus11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S1.Bus12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S1.Bus13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.119 | 3.9244 | 3.6381 | 3.8416 | 3.726 | 3.8478 | 4.522 | 5.2717 | 6.2463 | 6.0379 | 5.9776 | 6.1641 | 5.8318 | 5.9593 | 5.9526 | 5.7357 | 6.4657 | 6.3963 | 6.1799 | 6.141 | 5.9839 | 5.3359 | 4.642 | 4.0127
S1.Bus14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.21 | 2.9057 | 2.6655 | 2.7588 | 2.8116 | 2.8555 | 3.5113 | 4.1629 | 4.3704 | 4.5239 | 4.4693 | 4.2997 | 4.5734 | 4.379 | 4.3489 | 4.2114 | 4.7888 | 4.7768 | 4.6934 | 4.6034 | 4.1662 | 3.9249 | 3.5199 | 2.7653
S1.Bus15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8093 | 4.5326 | 4.671 | 4.6152 | 4.454 | 4.6325 | 5.4473 | 6.3796 | 7.2194 | 7.5115 | 7.4485 | 7.1245 | 6.8612 | 7.2118 | 6.751 | 6.8519 | 7.4625 | 7.7004 | 7.7542 | 7.4351 | 6.7251 | 6.0503 | 5.5043 | 4.5282
S1.Bus16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6393 | 1.503 | 1.4856 | 1.3565 | 1.3665 | 1.4907 | 1.7629 | 2.089 | 2.2401 | 2.1921 | 2.2215 | 2.1538 | 2.2261 | 2.3072 | 2.1531 | 2.2239 | 2.2771 | 2.4684 | 2.4196 | 2.2727 | 2.2255 | 1.9787 | 1.807 | 1.5069
S1.Bus17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S1.Bus18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3826 | 5.129 | 4.708 | 4.7891 | 4.8245 | 4.6259 | 5.9341 | 6.7442 | 7.545 | 7.7508 | 7.7529 | 7.1731 | 7.6611 | 7.6095 | 7.1293 | 7.2681 | 7.9613 | 7.7199 | 8.2228 | 7.3503 | 7.5332 | 6.4499 | 5.5419 | 5.1972
S1.Bus19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0441 | 2.6491 | 2.5236 | 2.5055 | 2.5734 | 2.5156 | 3.0888 | 3.5767 | 4.0439 | 3.9933 | 4.2116 | 4.0693 | 4.2359 | 4.1195 | 4.1695 | 4.1463 | 4.3472 | 4.2729 | 4.5396 | 4.307 | 4.0245 | 3.6771 | 3.1458 | 2.6796
S1.Bus20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.107 | 1.8984 | 1.763 | 1.7219 | 1.7992 | 1.8825 | 2.2344 | 2.596 | 2.8776 | 2.9553 | 3.051 | 3.0378 | 2.8404 | 3.0043 | 2.7422 | 2.8369 | 3.092 | 3.072 | 3.0489 | 3.0119 | 2.7217 | 2.6554 | 2.1433 | 1.9307
S1.Bus21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S1.Bus22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S1.Bus23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S1.Bus24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S1.Bus25 | 0.27755 | 0.18676 | 0.12851 | 0.10603 | 0.078114 | 0.12142 | 0.077202 | 0.0862 | 0.0013799 | 0.00064526 | 0.066294 | 0.086631 | 0.18682 | 0.3657 | 0.18545 | 0.091871 | 0.12512 | 0.088148 | 0.10898 | 0.23088 | 0.30502 | 0.26952 | 0.20269 | 0.17102 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S1.Bus26 | 0.24925 | 0.28224 | 0.27768 | 0.25532 | 0.21863 | 0.34151 | 0.29341 | 0.1805 | 0.12079 | 0.085511 | 0.11757 | 0.13851 | 0.18613 | 0.12711 | 0.088408 | 0.06563 | 0.13269 | 0.08928 | 0.067432 | 0.10649 | 0.093955 | 0.080328 | 0.090068 | 0.075021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S1.Bus27 | 0.18396 | 0.26092 | 0.17745 | 0.21706 | 0.15917 | 0.087107 | 0.16621 | 0.12811 | 0.09673 | 0.052975 | 0.055048 | 0.060786 | 0.1094 | 0.30189 | 0.3528 | 0.2769 | 0.14668 | 0.13274 | 0.15857 | 0.091871 | 0.14757 | 0.35356 | 0.29618 | 0.19706 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S4.Bus1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7108 | 1.5668 | 1.4784 | 1.5703 | 1.4421 | 1.4704 | 1.9001 | 2.1842 | 2.4539 | 2.5709 | 2.3581 | 2.3982 | 2.3593 | 2.383 | 2.314 | 2.4487 | 2.5547 | 2.665 | 2.4878 | 2.39 | 2.2949 | 2.0308 | 1.9446 | 1.5464
S4.Bus2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.521 | 1.5019 | 1.314 | 1.356 | 1.3289 | 1.4382 | 1.6916 | 1.952 | 2.1369 | 2.3021 | 2.2312 | 2.1311 | 2.1945 | 2.2273 | 2.0287 | 2.2018 | 2.2661 | 2.2909 | 2.307 | 2.2424 | 2.1199 | 1.9897 | 1.717 | 1.4822
S4.Bus3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.856 | 2.6919 | 2.572 | 2.5843 | 2.6175 | 2.4568 | 3.0581 | 3.5534 | 3.8443 | 4.2447 | 4.0525 | 4.2234 | 4.2195 | 4.0773 | 4.0332 | 4.011 | 4.0921 | 4.3007 | 4.4108 | 4.1297 | 3.9776 | 3.3693 | 3.0656 | 2.6714
S4.Bus4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2108 | 1.1182 | 1.0423 | 1.0064 | 0.99226 | 1.0458 | 1.2506 | 1.5743 | 1.6185 | 1.7612 | 1.6352 | 1.6358 | 1.612 | 1.6851 | 1.6363 | 1.6182 | 1.817 | 1.7314 | 1.8269 | 1.6125 | 1.5978 | 1.5157 | 1.2291 | 1.1372
S4.Bus5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.186 | 1.0962 | 1.0013 | 1.036 | 1.0419 | 1.0021 | 1.2998 | 1.5082 | 1.569 | 1.5668 | 1.6857 | 1.665 | 1.605 | 1.6721 | 1.6259 | 1.6448 | 1.6586 | 1.668 | 1.6233 | 1.5755 | 1.5578 | 1.3633 | 1.1859 | 1.0445
S4.Bus6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2073 | 2.0095 | 1.8589 | 1.902 | 1.9157 | 1.8625 | 2.4414 | 2.8484 | 3.0202 | 2.9923 | 3.1584 | 3.146 | 3.0533 | 3.0078 | 3.093 | 2.8999 | 3.1501 | 3.3747 | 3.3425 | 3.0835 | 2.8277 | 2.7591 | 2.3966 | 2.0764
S4.Bus7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9126 | 1.7868 | 1.7876 | 1.8203 | 1.697 | 1.784 | 2.2678 | 2.6131 | 2.8866 | 2.9152 | 2.791 | 2.9347 | 2.9177 | 2.8452 | 2.8603 | 2.7758 | 2.8716 | 2.9625 | 3.0284 | 2.9196 | 2.7756 | 2.4832 | 2.2585 | 1.8389
S4.Bus8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8017 | 2.5864 | 2.3522 | 2.2737 | 2.3091 | 2.405 | 3.0398 | 3.4568 | 3.7948 | 4.0314 | 3.779 | 3.7155 | 3.9894 | 3.9755 | 3.6048 | 3.964 | 3.8634 | 4.0553 | 4.025 | 3.7178 | 3.6103 | 3.3739 | 3.0485 | 2.5421
S4.Bus9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6918 | 2.5103 | 2.3831 | 2.5435 | 2.3825 | 2.5881 | 3.0901 | 3.4587 | 4.0062 | 3.8495 | 3.8706 | 4.1034 | 4.0344 | 4.0893 | 3.7547 | 3.8777 | 4.0025 | 4.1841 | 4.2318 | 3.8425 | 3.7468 | 3.4264 | 2.884 | 2.5438
S4.Bus10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0434 | 2.9273 | 2.7866 | 2.7167 | 2.8397 | 2.6655 | 3.3631 | 4.0872 | 4.3786 | 4.3701 | 4.3715 | 4.2625 | 4.3113 | 4.195 | 4.164 | 4.1922 | 4.6533 | 4.5891 | 4.6153 | 4.4271 | 4.0758 | 3.9787 | 3.3055 | 2.9474
S4.Bus11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S4.Bus12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S4.Bus13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.2836 | 4.0113 | 3.8996 | 3.691 | 3.6825 | 3.8106 | 4.7315 | 5.6464 | 6.072 | 6.2108 | 5.7956 | 5.7755 | 5.7896 | 6.0815 | 6.0625 | 5.6186 | 6.4022 | 6.1072 | 6.1449 | 6.2591 | 5.4758 | 5.0601 | 4.5249 | 3.9698
S4.Bus14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0357 | 2.86 | 2.8577 | 2.7764 | 2.7979 | 2.6636 | 3.2764 | 4.0224 | 4.2749 | 4.4713 | 4.2267 | 4.3524 | 4.2016 | 4.4161 | 4.4137 | 4.4327 | 4.7469 | 4.4833 | 4.8149 | 4.1903 | 4.37 | 3.7588 | 3.4831 | 2.7501
S4.Bus15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7974 | 4.5982 | 4.4329 | 4.6084 | 4.4041 | 4.3005 | 5.6199 | 6.1909 | 7.0903 | 7.4155 | 6.8389 | 7.1811 | 7.0427 | 7.3939 | 7.0368 | 7.3696 | 7.3019 | 7.313 | 7.8358 | 7.508 | 6.8684 | 6.2797 | 5.2249 | 4.6525
S4.Bus16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5558 | 1.4618 | 1.3705 | 1.4204 | 1.3454 | 1.4479 | 1.797 | 1.959 | 2.33 | 2.2666 | 2.2185 | 2.163 | 2.2726 | 2.2623 | 2.1224 | 2.1518 | 2.246 | 2.4349 | 2.384 | 2.3799 | 2.2012 | 1.9972 | 1.744 | 1.4455
S4.Bus17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S4.Bus18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0858 | 5.1213 | 4.6108 | 4.768 | 4.7279 | 4.8634 | 5.9887 | 6.5965 | 7.8174 | 7.7517 | 7.8725 | 7.1643 | 7.2863 | 7.8264 | 7.584 | 7.7365 | 7.6524 | 7.9471 | 8.0317 | 7.6713 | 6.9961 | 6.6101 | 5.804 | 5.0187
S4.Bus19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9851 | 2.6062 | 2.7034 | 2.478 | 2.4492 | 2.4842 | 3.1558 | 3.7852 | 4.0716 | 4.2123 | 3.94 | 4.1188 | 4.1507 | 4.1114 | 4.0186 | 3.9552 | 4.3193 | 4.2354 | 4.2125 | 4.0073 | 4.1051 | 3.498 | 3.2012 | 2.8091
S4.Bus20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0481 | 1.8407 | 1.762 | 1.7081 | 1.8452 | 1.875 | 2.1756 | 2.72 | 2.7954 | 2.8425 | 2.9708 | 2.8666 | 2.7881 | 2.8526 | 2.9422 | 2.8675 | 3.0651 | 3.1654 | 2.9757 | 2.9054 | 2.8131 | 2.5016 | 2.2311 | 1.9068
S4.Bus21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S4.Bus22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S4.Bus23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S4.Bus24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S4.Bus25 | 0.13589 | 0.18362 | 0.32493 | 0.3618 | 0.44152 | 0.47552 | 0.59163 | 0.61852 | 0.51191 | 0.35183 | 0.28926 | 0.4246 | 0.43441 | 0.38692 | 0.35031 | 0.42024 | 0.52728 | 0.6089 | 0.63065 | 0.54884 | 0.52786 | 0.69052 | 0.65653 | 0.54527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S4.Bus26 | 0.44713 | 0.53412 | 0.52531 | 0.45867 | 0.46777 | 0.5264 | 0.51773 | 0.48661 | 0.50209 | 0.49678 | 0.50362 | 0.53762 | 0.53842 | 0.45823 | 0.4503 | 0.4901 | 0.59788 | 0.72162 | 0.81102 | 0.85437 | 0.92391 | 0.94545 | 0.90263 | 0.91916 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S4.Bus27 | 0.36466 | 0.49039 | 0.48364 | 0.49634 | 0.43893 | 0.40878 | 0.37023 | 0.32223 | 0.41975 | 0.48719 | 0.49729 | 0.52575 | 0.54148 | 0.61215 | 0.54972 | 0.63202 | 0.63865 | 0.66426 | 0.64383 | 0.56276 | 0.68421 | 0.71932 | 0.7163 | 0.69073 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S17.Bus1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4633 | 1.4706 | 1.426 | 1.3228 | 1.3383 | 1.3804 | 1.5751 | 1.8069 | 1.9618 | 2.1917 | 2.3752 | 2.3611 | 2.2303 | 2.47 | 2.2723 | 2.337 | 2.1917 | 2.1784 | 2.2755 | 2.2638 | 2.2649 | 2.246 | 2.0438 | 1.7113
S17.Bus2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3855 | 1.2737 | 1.1764 | 1.2404 | 1.1548 | 1.2007 | 1.4146 | 1.5446 | 1.8312 | 1.977 | 2.0876 | 2.1676 | 2.1089 | 2.0901 | 2.2061 | 1.9743 | 2.1073 | 2.1083 | 2.042 | 1.9648 | 1.9424 | 1.9382 | 1.842 | 1.4848
S17.Bus3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5458 | 2.4245 | 2.234 | 2.2951 | 2.1494 | 2.3709 | 2.4695 | 3.0896 | 3.5388 | 3.8228 | 4.0606 | 3.7761 | 3.6868 | 3.7956 | 3.8129 | 3.7657 | 3.5968 | 3.6658 | 3.7588 | 3.7279 | 3.4357 | 3.4591 | 3.541 | 2.7702
S17.Bus4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9881 | 0.97085 | 0.97349 | 0.94778 | 0.87366 | 0.89696 | 1.0691 | 1.2505 | 1.4317 | 1.4838 | 1.5485 | 1.6505 | 1.6518 | 1.6899 | 1.6255 | 1.6248 | 1.5019 | 1.5558 | 1.5477 | 1.5402 | 1.5076 | 1.4542 | 1.4231 | 1.1273
S17.Bus5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0109 | 0.9569 | 0.87691 | 0.88104 | 0.89261 | 0.89878 | 1.0222 | 1.1439 | 1.4093 | 1.4512 | 1.4716 | 1.5709 | 1.6029 | 1.4927 | 1.6038 | 1.533 | 1.5391 | 1.4207 | 1.5075 | 1.4914 | 1.3983 | 1.5079 | 1.3777 | 1.1446
S17.Bus6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9047 | 1.8324 | 1.7087 | 1.6568 | 1.6841 | 1.6974 | 1.975 | 2.1859 | 2.6209 | 2.8888 | 3.0985 | 2.8546 | 3.0386 | 2.9189 | 2.8867 | 2.861 | 2.7387 | 2.9457 | 2.7792 | 2.7911 | 2.7485 | 2.6495 | 2.5271 | 2.0697
S17.Bus7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8089 | 1.6241 | 1.5316 | 1.5767 | 1.5797 | 1.5455 | 1.7262 | 2.0141 | 2.3946 | 2.6582 | 2.8049 | 2.6918 | 2.6963 | 2.7365 | 2.7974 | 2.5292 | 2.6342 | 2.5815 | 2.6079 | 2.6086 | 2.4525 | 2.4281 | 2.4792 | 2.0468
S17.Bus8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4861 | 2.3051 | 2.0859 | 2.0848 | 2.1758 | 2.0982 | 2.2789 | 2.7036 | 3.395 | 3.4743 | 3.5345 | 3.6562 | 3.5412 | 3.76 | 3.5429 | 3.567 | 3.4853 | 3.5955 | 3.622 | 3.3329 | 3.4011 | 3.4206 | 3.0965 | 2.7843
S17.Bus9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4451 | 2.1928 | 2.18 | 2.1888 | 2.0732 | 2.2937 | 2.4632 | 2.8484 | 3.3576 | 3.4266 | 3.7275 | 3.7197 | 3.8425 | 3.923 | 3.7104 | 3.507 | 3.6334 | 3.6178 | 3.5964 | 3.6256 | 3.3793 | 3.5222 | 3.1932 | 2.5971
S17.Bus10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8054 | 2.5292 | 2.4594 | 2.3104 | 2.426 | 2.4606 | 2.763 | 3.1743 | 3.8283 | 3.9399 | 4.2482 | 4.2342 | 4.0356 | 4.3803 | 4.3346 | 4.1883 | 3.9972 | 4.1455 | 4.1238 | 3.8192 | 3.7211 | 3.7979 | 3.7159 | 3.0856
S17.Bus11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S17.Bus12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S17.Bus13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5582 | 3.4783 | 3.4681 | 3.3877 | 3.3943 | 3.309 | 3.7244 | 4.2764 | 5.0107 | 5.3892 | 5.8959 | 5.5125 | 5.9831 | 5.9741 | 5.9055 | 5.693 | 5.7686 | 5.3731 | 5.468 | 5.5124 | 5.3698 | 5.5637 | 4.7774 | 4.1889
S17.Bus14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7412 | 2.5044 | 2.3297 | 2.4562 | 2.2713 | 2.5722 | 2.6617 | 3.1122 | 3.6697 | 4.0293 | 4.125 | 4.2111 | 4.2138 | 4.2016 | 4.0443 | 4.0522 | 4.1004 | 3.8636 | 3.8324 | 4.0128 | 3.7752 | 3.9194 | 3.7793 | 3.1519
S17.Bus15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.2188 | 4.0614 | 3.9187 | 3.7757 | 3.9159 | 4.1462 | 4.2056 | 5.4334 | 6.1686 | 6.7362 | 6.7097 | 6.8653 | 6.9716 | 6.783 | 6.8388 | 6.9138 | 6.9435 | 6.5548 | 6.5898 | 6.295 | 6.324 | 6.296 | 5.9327 | 5.0562
S17.Bus16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4475 | 1.3694 | 1.217 | 1.1744 | 1.213 | 1.2608 | 1.4385 | 1.594 | 1.8852 | 2.1194 | 2.1414 | 2.1053 | 2.1476 | 2.1378 | 2.2826 | 2.1967 | 2.1071 | 2.0105 | 1.9832 | 2.0715 | 1.9966 | 2.0922 | 1.8171 | 1.5115
S17.Bus17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S17.Bus18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.798 | 4.3307 | 4.2441 | 4.1447 | 3.9111 | 4.3649 | 4.6709 | 5.4389 | 6.253 | 6.9757 | 7.5416 | 7.0775 | 7.0244 | 7.0707 | 7.3225 | 7.2155 | 7.0861 | 6.7748 | 6.7273 | 6.9146 | 7.0083 | 6.5942 | 6.3015 | 5.0458
S17.Bus19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4402 | 2.3239 | 2.3554 | 2.1201 | 2.2643 | 2.3589 | 2.4479 | 3.1559 | 3.611 | 3.8685 | 4.0336 | 4.1461 | 3.823 | 3.8504 | 4.0098 | 4.0495 | 3.9799 | 3.9635 | 3.5329 | 3.5135 | 3.8051 | 3.5873 | 3.5841 | 2.7917
S17.Bus20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7252 | 1.6378 | 1.6909 | 1.5822 | 1.6112 | 1.6136 | 1.7036 | 2.0741 | 2.3943 | 2.6137 | 2.7521 | 2.6644 | 2.6647 | 2.7454 | 2.9266 | 2.7479 | 2.7617 | 2.6559 | 2.5856 | 2.5783 | 2.5599 | 2.5123 | 2.3123 | 1.9984
S17.Bus21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S17.Bus22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S17.Bus23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S17.Bus24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S17.Bus25 | 0.077161 | 0.13723 | 0.30476 | 0.38192 | 0.39404 | 0.37282 | 0.37358 | 0.41625 | 0.37912 | 0.38495 | 0.24354 | 0.43527 | 0.32853 | 0.32663 | 0.36035 | 1 | 0.78868 | 0.78706 | 0.5656 | 0.40572 | 0.41682 | 0.27787 | 0.081887 | 0.076541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S17.Bus26 | 0.26952 | 0.30036 | 0.015947 | 0.19183 | 0.43076 | 0.063846 | 0 | 0.002167 | 0.14621 | 0.17559 | 0.16725 | 0.10888 | 0.041229 | 0.10607 | 0.049477 | 0.028215 | 0.032806 | 0.022513 | 0.045102 | 0.076294 | 0.12428 | 0.22141 | 0.22824 | 0.24931 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S17.Bus27 | 0.31763 | 0.31581 | 0.52094 | 0.35778 | 0.26714 | 0.23138 | 0.058003 | 0.09311 | 0.2365 | 0.30509 | 0.31467 | 0.25481 | 0.22671 | 0.17313 | 0.22336 | 0.15112 | 0.22904 | 0.21363 | 0.33214 | 0.26862 | 0.075103 | 0.17599 | 0.2014 | 0.46257 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S37.Bus1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3833 | 1.3641 | 1.4233 | 1.3936 | 1.296 | 1.551 | 1.6467 | 2.0312 | 2.2783 | 2.2604 | 2.3791 | 2.3931 | 2.2052 | 2.1502 | 2.1725 | 2.0934 | 2.0287 | 2.1073 | 2.2826 | 2.2365 | 2.2899 | 1.9915 | 1.887 | 1.644
S37.Bus2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2957 | 1.2445 | 1.2078 | 1.1642 | 1.2203 | 1.2769 | 1.5419 | 1.7214 | 1.8987 | 2.1294 | 2.1659 | 1.999 | 1.9127 | 1.9003 | 1.7942 | 1.891 | 1.9227 | 1.9824 | 1.8867 | 2.0169 | 2.0114 | 1.9256 | 1.6491 | 1.4082
S37.Bus3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4755 | 2.2607 | 2.2778 | 2.2272 | 2.2467 | 2.4466 | 2.7147 | 3.2788 | 3.75 | 3.8698 | 3.957 | 3.8172 | 3.7045 | 3.5186 | 3.4675 | 3.2954 | 3.5544 | 3.6324 | 3.6773 | 3.5836 | 3.7807 | 3.4894 | 3.0173 | 2.5727
S37.Bus4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0186 | 0.97175 | 0.95073 | 0.95206 | 0.93423 | 1.0229 | 1.1233 | 1.3246 | 1.562 | 1.5463 | 1.6068 | 1.5597 | 1.4762 | 1.4332 | 1.3752 | 1.3705 | 1.4835 | 1.4857 | 1.4397 | 1.5358 | 1.5892 | 1.4184 | 1.3112 | 1.0575
S37.Bus5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.98868 | 0.94107 | 0.88379 | 0.88521 | 0.88009 | 0.96439 | 1.1023 | 1.2353 | 1.4842 | 1.484 | 1.442 | 1.4966 | 1.4228 | 1.3785 | 1.3744 | 1.3767 | 1.3016 | 1.3937 | 1.4339 | 1.5349 | 1.4719 | 1.3841 | 1.1814 | 1.0109
S37.Bus6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8914 | 1.7933 | 1.7739 | 1.6176 | 1.8041 | 1.8629 | 2.1358 | 2.5696 | 2.6639 | 2.791 | 3.0352 | 2.9002 | 2.6069 | 2.6015 | 2.5755 | 2.4513 | 2.6371 | 2.6412 | 2.846 | 2.7968 | 2.7023 | 2.5347 | 2.4052 | 1.9925
S37.Bus7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6569 | 1.6005 | 1.6801 | 1.5058 | 1.6126 | 1.7351 | 1.8355 | 2.1927 | 2.5862 | 2.6888 | 2.6388 | 2.6558 | 2.4323 | 2.4609 | 2.322 | 2.4211 | 2.3247 | 2.4792 | 2.5111 | 2.5995 | 2.4587 | 2.3662 | 2.1417 | 1.8569
S37.Bus8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2864 | 2.209 | 2.1893 | 2.1786 | 2.1618 | 2.4767 | 2.6096 | 3.1871 | 3.4413 | 3.5945 | 3.7145 | 3.5447 | 3.5521 | 3.4918 | 3.3213 | 3.2293 | 3.274 | 3.5071 | 3.3354 | 3.4572 | 3.3517 | 3.3524 | 3.0398 | 2.5034
S37.Bus9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4363 | 2.3689 | 2.248 | 2.2421 | 2.0964 | 2.312 | 2.625 | 3.1183 | 3.5461 | 3.4921 | 3.6234 | 3.5034 | 3.3495 | 3.325 | 3.4282 | 3.1117 | 3.2046 | 3.3133 | 3.7129 | 3.7679 | 3.4973 | 3.2912 | 3.0073 | 2.6171
S37.Bus10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5697 | 2.6316 | 2.4286 | 2.3061 | 2.3383 | 2.6159 | 2.8953 | 3.5737 | 4.0117 | 4.1191 | 4.0108 | 3.9525 | 3.7977 | 3.6293 | 3.7499 | 3.5041 | 3.564 | 3.7426 | 3.9957 | 3.8725 | 3.7933 | 3.8961 | 3.3145 | 2.93
S37.Bus11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S37.Bus12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S37.Bus13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.563 | 3.3805 | 3.3465 | 3.314 | 3.259 | 3.7522 | 4.0254 | 4.8643 | 5.544 | 5.3342 | 5.8897 | 5.5397 | 5.1412 | 5.0207 | 5.1646 | 4.9946 | 4.8705 | 5.2619 | 5.3635 | 5.5159 | 5.1728 | 4.8268 | 4.4497 | 3.7902
S37.Bus14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5849 | 2.5889 | 2.5952 | 2.2995 | 2.4982 | 2.7184 | 2.9643 | 3.4102 | 3.8647 | 4.1187 | 4.0821 | 4.0266 | 3.8706 | 3.7897 | 3.731 | 3.5006 | 3.5935 | 3.6626 | 4.0909 | 3.8698 | 4.1409 | 3.8144 | 3.1695 | 2.9433
S37.Bus15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1659 | 4.3702 | 3.9821 | 3.9391 | 3.8321 | 4.5464 | 4.8574 | 5.5004 | 6.5337 | 6.5543 | 6.4416 | 6.8459 | 6.1277 | 6.2836 | 6.1286 | 5.8415 | 6.2507 | 6.4273 | 6.6502 | 6.3424 | 6.459 | 6.0848 | 5.4717 | 4.6572
S37.Bus16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3913 | 1.3724 | 1.2808 | 1.2856 | 1.1917 | 1.3492 | 1.4898 | 1.8117 | 1.9185 | 2.1916 | 2.1851 | 2.1129 | 1.9236 | 1.9942 | 1.8835 | 1.8444 | 1.9463 | 1.9235 | 2.1268 | 2.0686 | 1.9706 | 1.9835 | 1.6693 | 1.5017
S37.Bus17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S37.Bus18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5905 | 4.5241 | 4.2572 | 4.0895 | 4.272 | 4.4933 | 5.133 | 5.9482 | 6.5937 | 6.7598 | 6.9265 | 7.2643 | 6.887 | 6.5635 | 6.464 | 6.5178 | 6.2206 | 6.4826 | 6.4998 | 7.1013 | 6.7382 | 6.218 | 5.8191 | 4.7497
S37.Bus19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4497 | 2.3341 | 2.2525 | 2.3363 | 2.3473 | 2.4879 | 2.749 | 3.2232 | 3.8348 | 3.9981 | 3.856 | 3.6874 | 3.557 | 3.3948 | 3.6482 | 3.3246 | 3.4303 | 3.6795 | 3.8644 | 3.7145 | 3.6209 | 3.3289 | 3.0768 | 2.7922
S37.Bus20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6713 | 1.7629 | 1.5901 | 1.6271 | 1.6703 | 1.814 | 1.8697 | 2.366 | 2.7117 | 2.7836 | 2.7612 | 2.5699 | 2.5939 | 2.5083 | 2.4613 | 2.5023 | 2.3432 | 2.4915 | 2.7097 | 2.625 | 2.7196 | 2.5777 | 2.1194 | 1.8357
S37.Bus21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S37.Bus22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S37.Bus23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S37.Bus24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S37.Bus25 | 0.11617 | 0.093199 | 0.87529 | 0.2615 | 0.36452 | 0.40892 | 0.33705 | 0.32297 | 0.010504 | 0.070368 | 0.10538 | 0.19154 | 0.14715 | 0.081212 | 0 | 0.001681 | 0.0081826 | 0.018843 | 0.06649 | 0.061736 | 0.065786 | 0.045273 | 0.050895 | 0.077616 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S37.Bus26 | 0.052543 | 0.065825 | 0.036958 | 0.45282 | 0.44095 | 0.49889 | 0.36278 | 0.40515 | 0.38818 | 0.35321 | 0.31568 | 0.24824 | 0.26617 | 0.19357 | 0.089761 | 0.071974 | 0.10454 | 0.058003 | 0.045719 | 0.01911 | 0.54819 | 0.31427 | 0.037054 | 0.021326 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S37.Bus27 | 0.028067 | 0.26739 | 0.22184 | 0.19928 | 0.091562 | 0.039352 | 0.098084 | 0.13102 | 0.078489 | 0.24198 | 0.21893 | 0.237 | 0.24429 | 0.066255 | 0.014678 | 0.017134 | 0.053011 | 0.073512 | 0.070608 | 0.06493 | 0.038149 | 0.049972 | 0.031975 | 0.11396 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S38.Bus1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3712 | 1.3162 | 1.2052 | 1.23 | 1.2235 | 1.4036 | 1.5154 | 1.7872 | 1.99 | 2.022 | 2.1386 | 2.1824 | 1.9414 | 2.0183 | 1.9352 | 1.8097 | 1.8123 | 1.9848 | 2.0299 | 2.0184 | 1.9686 | 1.8943 | 1.6676 | 1.5162
S38.Bus2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2098 | 1.2192 | 1.1794 | 1.1277 | 1.1087 | 1.2432 | 1.3777 | 1.5363 | 1.8481 | 1.7747 | 1.928 | 1.9424 | 1.7489 | 1.6656 | 1.6728 | 1.5951 | 1.766 | 1.7973 | 1.7994 | 1.7595 | 1.8211 | 1.6751 | 1.5192 | 1.3424
S38.Bus3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1161 | 2.2681 | 2.1816 | 1.9719 | 2.0658 | 2.2441 | 2.471 | 2.9877 | 3.2334 | 3.6256 | 3.5504 | 3.3329 | 3.3476 | 3.204 | 3.0781 | 3.207 | 3.0561 | 3.0557 | 3.1935 | 3.4137 | 3.4046 | 3.2294 | 2.6831 | 2.4531
S38.Bus4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.89806 | 0.89391 | 0.86853 | 0.81864 | 0.87742 | 0.89099 | 1.059 | 1.1737 | 1.4108 | 1.4428 | 1.4567 | 1.3626 | 1.3976 | 1.3228 | 1.353 | 1.218 | 1.3206 | 1.2614 | 1.4193 | 1.4816 | 1.326 | 1.2458 | 1.2001 | 1.0083
S38.Bus5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87165 | 0.86088 | 0.79652 | 0.8333 | 0.85532 | 0.8823 | 1.0044 | 1.1903 | 1.3319 | 1.4106 | 1.3582 | 1.3099 | 1.2655 | 1.2403 | 1.2497 | 1.2593 | 1.3048 | 1.2563 | 1.3196 | 1.3238 | 1.3653 | 1.2955 | 1.1014 | 1.0044
S38.Bus6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.69 | 1.6756 | 1.5262 | 1.6011 | 1.4991 | 1.653 | 1.9433 | 2.1636 | 2.5495 | 2.559 | 2.6413 | 2.6168 | 2.5805 | 2.5573 | 2.4255 | 2.3576 | 2.3691 | 2.3443 | 2.6819 | 2.6778 | 2.5438 | 2.3989 | 2.1928 | 1.7755
S38.Bus7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4798 | 1.506 | 1.462 | 1.3977 | 1.3949 | 1.5262 | 1.784 | 2.0589 | 2.3309 | 2.4595 | 2.3705 | 2.3367 | 2.3731 | 2.2691 | 2.1297 | 2.2354 | 2.1038 | 2.2159 | 2.3505 | 2.2872 | 2.4579 | 2.0924 | 1.928 | 1.692
S38.Bus8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0676 | 2.007 | 1.9196 | 1.9542 | 1.9495 | 2.1737 | 2.3082 | 2.7486 | 3.1153 | 3.2788 | 3.1639 | 3.2748 | 3.2243 | 3.0179 | 2.9762 | 2.8284 | 3.056 | 3.0374 | 3.1424 | 3.2767 | 3.2157 | 2.9215 | 2.6603 | 2.347
S38.Bus9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2113 | 2.1588 | 2.0128 | 2.0141 | 2.0002 | 2.2337 | 2.4909 | 2.8122 | 3.2869 | 3.2716 | 3.4753 | 3.3537 | 3.2483 | 3.1465 | 3.1438 | 2.9387 | 2.8992 | 3.0638 | 3.2276 | 3.2689 | 3.249 | 2.995 | 2.7021 | 2.278
S38.Bus10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4439 | 2.226 | 2.1814 | 2.1958 | 2.2947 | 2.4585 | 2.5988 | 3.2572 | 3.7244 | 3.7979 | 3.8922 | 3.8365 | 3.518 | 3.3077 | 3.3673 | 3.2671 | 3.5269 | 3.3857 | 3.725 | 3.6928 | 3.5263 | 3.56 | 2.8872 | 2.5742
S38.Bus11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S38.Bus12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S38.Bus13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1084 | 3.1395 | 3.2321 | 2.8423 | 2.8967 | 3.2468 | 3.6586 | 4.4858 | 5.1119 | 4.8933 | 5.1369 | 5.1848 | 4.6727 | 4.7382 | 4.5533 | 4.6484 | 4.7725 | 4.9669 | 4.7692 | 5.1458 | 5.1663 | 4.7124 | 4.127 | 3.4549
S38.Bus14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4921 | 2.2583 | 2.1906 | 2.0836 | 2.1814 | 2.4651 | 2.6539 | 3.2717 | 3.6896 | 3.8012 | 3.7657 | 3.6689 | 3.353 | 3.3145 | 3.354 | 3.4372 | 3.2703 | 3.3777 | 3.7993 | 3.648 | 3.7721 | 3.2953 | 3.1144 | 2.5554
S38.Bus15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.796 | 3.9121 | 3.8151 | 3.7412 | 3.5491 | 3.8977 | 4.3279 | 5.188 | 5.8848 | 5.792 | 6.3732 | 5.9571 | 5.9376 | 5.7929 | 5.412 | 5.3106 | 5.4393 | 5.6988 | 5.9136 | 5.8642 | 5.8078 | 5.7087 | 4.6903 | 4.3291
S38.Bus16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1854 | 1.1737 | 1.207 | 1.1307 | 1.1233 | 1.2729 | 1.3752 | 1.6551 | 1.8293 | 2.0016 | 1.9557 | 1.9156 | 1.8199 | 1.7891 | 1.7806 | 1.6646 | 1.7822 | 1.7143 | 1.8743 | 1.9124 | 1.8351 | 1.7748 | 1.5449 | 1.3728
S38.Bus17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S38.Bus18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.0167 | 4.102 | 3.8251 | 3.869 | 3.69 | 4.4214 | 4.7372 | 5.7278 | 5.9477 | 6.7194 | 6.4565 | 6.6339 | 5.9462 | 6.0308 | 5.5498 | 5.5153 | 5.9293 | 5.7641 | 6.3817 | 6.3659 | 6.2378 | 6.093 | 5.1941 | 4.6042
S38.Bus19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1973 | 2.1397 | 2.0239 | 2.039 | 2.1446 | 2.2813 | 2.4659 | 3.1024 | 3.4896 | 3.4122 | 3.5251 | 3.39 | 3.1375 | 3.2809 | 3.2014 | 2.9832 | 3.0805 | 3.1991 | 3.5344 | 3.4423 | 3.4875 | 3.1601 | 2.7991 | 2.4822
S38.Bus20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5119 | 1.5571 | 1.4398 | 1.4912 | 1.4473 | 1.58 | 1.8371 | 2.1875 | 2.2664 | 2.4754 | 2.4361 | 2.4311 | 2.4165 | 2.3408 | 2.2478 | 2.2714 | 2.3419 | 2.3685 | 2.512 | 2.3744 | 2.4324 | 2.2095 | 1.9223 | 1.7637
S38.Bus21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S38.Bus22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S38.Bus23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S38.Bus24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S38.Bus25 | 0.34515 | 0.40388 | 0.41554 | 0.54811 | 0.77935 | 0.73619 | 0.6204 | 0.59635 | 0.592 | 0.61411 | 0.61252 | 0.59599 | 0.59831 | 0.63375 | 0.57717 | 0.51431 | 0.43764 | 0.43908 | 0.53165 | 0.6102 | 0.71076 | 0.71694 | 0.77874 | 0.87484 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S38.Bus26 | 0.4596 | 0.51511 | 0.53194 | 0.53318 | 0.53893 | 0.46502 | 0.45189 | 0.41226 | 0.3539 | 0.3144 | 0.33289 | 0.35176 | 0.36201 | 0.32731 | 0.31292 | 0.44282 | 0.42997 | 0.48226 | 0.60977 | 0.59105 | 0.56072 | 0.51111 | 0.57768 | 0.66697 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S38.Bus27 | 0.58299 | 0.62221 | 0.59505 | 0.58102 | 0.5941 | 0.54615 | 0.52225 | 0.4994 | 0.46098 | 0.43076 | 0.43535 | 0.4408 | 0.47132 | 0.48814 | 0.42932 | 0.71623 | 0.73445 | 0.77263 | 0.71911 | 0.69448 | 0.70844 | 0.66355 | 0.71785 | 0.75917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## ScenPB (hidden)
S1 | 0.013699
S4 | 0.25845
S17 | 0.47671
S37 | 0.11872
S38 | 0.13242

## BusLoad
Load# | Node | peakload_or_%ofsystemload
1 | 101 | 1.083
2 | 102 | 0.969
3 | 103 | 1.7955
4 | 104 | 0.741
5 | 105 | 0.7125
6 | 106 | 1.368
7 | 107 | 1.254
8 | 108 | 1.71
9 | 109 | 1.7385
10 | 110 | 1.938
11 | 113 | 2.6505
12 | 114 | 1.938
13 | 115 | 3.1635
14 | 116 | 0.9975
15 | 118 | 3.3345
16 | 119 | 1.824
17 | 120 | 1.2825
1 | 201 | 1.1696
2 | 202 | 1.0465
3 | 203 | 1.9391
4 | 204 | 0.80028
5 | 205 | 0.7695
6 | 206 | 1.4774
7 | 207 | 1.3543
8 | 208 | 1.8468
9 | 209 | 1.8776
10 | 210 | 2.093
11 | 213 | 2.8625
12 | 214 | 2.093
13 | 215 | 3.4166
14 | 216 | 1.0773
15 | 218 | 3.6013
16 | 219 | 1.9699
17 | 220 | 1.3851
1 | 301 | 0.99636
2 | 302 | 0.89148
3 | 303 | 1.6519
4 | 304 | 0.68172
5 | 305 | 0.6555
6 | 306 | 1.2586
7 | 307 | 1.1537
8 | 308 | 1.5732
9 | 309 | 1.5994
10 | 310 | 1.783
11 | 313 | 2.4385
12 | 314 | 1.783
13 | 315 | 2.9104
14 | 316 | 0.9177
15 | 318 | 3.0677
16 | 319 | 1.6781
17 | 320 | 1.1799

## LoadForeCurve
Scenario | T1 | T2 | T3 | T4 | T5 | T6 | T7 | T8 | T9 | T10 | T11 | T12 | T13 | T14 | T15 | T16 | T17 | T18 | T19 | T20 | T21 | T22 | T23 | T24
1 | 0.56317 | 0.51327 | 0.48713 | 0.47525 | 0.47287 | 0.48475 | 0.52277 | 0.62257 | 0.70574 | 0.73663 | 0.75327 | 0.76752 | 0.77228 | 0.76752 | 0.7699 | 0.7604 | 0.75089 | 0.73901 | 0.72238 | 0.70099 | 0.69149 | 0.7105 | 0.69149 | 0.6297
2 | 0.57845 | 0.54168 | 0.51456 | 0.51157 | 0.51081 | 0.52275 | 0.63699 | 0.74398 | 0.82138 | 0.83322 | 0.83282 | 0.81488 | 0.81502 | 0.82264 | 0.79751 | 0.80668 | 0.86059 | 0.86909 | 0.874 | 0.8362 | 0.801 | 0.71722 | 0.63096 | 0.54353
3 | 0.57081 | 0.52747 | 0.50084 | 0.49341 | 0.49184 | 0.50375 | 0.57988 | 0.68328 | 0.76356 | 0.78493 | 0.79304 | 0.7912 | 0.79365 | 0.79508 | 0.78371 | 0.78354 | 0.80574 | 0.80405 | 0.79819 | 0.76859 | 0.74624 | 0.71386 | 0.66122 | 0.58661

## LoadScenarioCurve (hidden)
Day | Scenario | BUS | T1 | T2 | T3 | T4 | T5 | T6 | T7 | T8 | T9 | T10 | T11 | T12 | T13 | T14 | T15 | T16 | T17 | T18 | T19 | T20 | T21 | T22 | T23 | T24
1 | 1 | 1 | 69.2678 | 64.6374 | 65.0634 | 64.9817 | 62.725 | 64.454 | 77.2025 | 95.8189 | 99.8725 | 101.3763 | 107.5822 | 97.7519 | 98.4464 | 100.345 | 101.9084 | 99.3262 | 107.9981 | 101.9647 | 103.3583 | 100.9376 | 97.8803 | 89.6759 | 76.5457 | 66.461
1 | 1 | 2 | 61.2536 | 60.5076 | 59.2338 | 55.8255 | 54.4758 | 57.8534 | 67.7428 | 85.9593 | 93.8129 | 91.981 | 94.4815 | 89.7338 | 89.5501 | 91.6187 | 84.805 | 92.8815 | 97.9609 | 96.7819 | 98.9985 | 94.984 | 88.6925 | 75.6716 | 73.2093 | 60.0534
1 | 1 | 3 | 120.5394 | 116.1795 | 110.6243 | 99.617 | 101.7822 | 110.1916 | 133.8798 | 145.6102 | 163.4663 | 169.8073 | 170.9302 | 176.9523 | 169.4097 | 173.0394 | 170.9922 | 171.1457 | 171.9853 | 176.1145 | 184.032 | 169.5987 | 163.8861 | 143.194 | 131.7326 | 117.3315
1 | 1 | 4 | 47.441 | 44.9741 | 44.7462 | 41.1146 | 41.5196 | 45.7184 | 53.6583 | 61.9336 | 67.9102 | 68.754 | 72.0043 | 68.4315 | 67.9169 | 68.72 | 65.3233 | 66.1457 | 75.6199 | 72.2001 | 71.0685 | 73.0854 | 69.8925 | 62.6689 | 52.0516 | 47.2493
1 | 1 | 5 | 45.1832 | 44.2819 | 40.3844 | 41.2336 | 40.8224 | 41.5065 | 54.3941 | 61.2166 | 65.593 | 69.6724 | 64.6779 | 63.8558 | 65.2142 | 66.2119 | 64.8211 | 69.0155 | 71.403 | 67.0416 | 71.9243 | 64.3315 | 67.1658 | 60.0657 | 49.756 | 42.6144
1 | 1 | 6 | 88.8858 | 88.3913 | 79.6073 | 82.5172 | 80.5387 | 83.9818 | 102.3069 | 122.0027 | 131.3117 | 128.3982 | 123.3676 | 122.9219 | 133.8288 | 133.2911 | 131.415 | 128.6443 | 136.5663 | 133.6866 | 141.3633 | 131.3986 | 122.1134 | 110.8461 | 102.9635 | 86.8288
1 | 1 | 7 | 84.8911 | 79.0771 | 72.5801 | 71.6141 | 73.5681 | 77.8177 | 91.6878 | 109.3901 | 118.3147 | 120.2672 | 120.9819 | 112.3647 | 113.3353 | 116.1063 | 112.8682 | 122.2316 | 117.2508 | 130.0924 | 123.3395 | 117.2203 | 114.8482 | 103.2314 | 89.6012 | 80.5964
1 | 1 | 8 | 115.9688 | 106.2326 | 99.9121 | 98.681 | 99.3982 | 100.8156 | 123.9218 | 152.2909 | 154.777 | 163.5134 | 164.8485 | 153.8326 | 158.2155 | 159.843 | 151.5562 | 165.2681 | 161.3117 | 169.0965 | 167.4279 | 160.5762 | 161.2562 | 140.0708 | 126.3277 | 103.7232
1 | 1 | 9 | 111.2208 | 110.2777 | 101.717 | 105.3457 | 99.9899 | 104.9529 | 131.0885 | 150.1783 | 170.1892 | 158.6426 | 161.1032 | 167.4943 | 164.0063 | 155.7521 | 163.7847 | 154.9895 | 169.8152 | 177.791 | 174.1377 | 164.2454 | 159.1022 | 143.59 | 121.3876 | 107.7038
1 | 1 | 10 | 131.8909 | 115.5404 | 112.9652 | 110.5881 | 115.6023 | 109.8106 | 140.6211 | 161.5754 | 178.4981 | 192.4439 | 176.609 | 190.8481 | 176.0804 | 180.9483 | 172.2911 | 178.8495 | 184.8079 | 197.1464 | 183.5234 | 191.6699 | 180.763 | 160.7787 | 141.4298 | 120.3119
1 | 1 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 1 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 1 | 13 | 171.0731 | 162.9923 | 151.1011 | 159.5522 | 154.7526 | 159.8073 | 187.8122 | 218.9472 | 259.427 | 250.7704 | 248.2635 | 256.0093 | 242.2086 | 247.5045 | 247.2251 | 238.2169 | 268.5386 | 265.6543 | 256.6678 | 255.0515 | 248.5267 | 221.6158 | 192.7939 | 166.6569
1 | 1 | 14 | 133.3194 | 120.6826 | 110.7057 | 114.5806 | 116.7748 | 118.595 | 145.8335 | 172.8981 | 181.5153 | 187.8901 | 185.6227 | 178.5793 | 189.9472 | 181.873 | 180.6209 | 174.912 | 198.8934 | 198.391 | 194.9287 | 191.1899 | 173.0317 | 163.0116 | 146.1915 | 114.8519
1 | 1 | 15 | 199.7443 | 188.2505 | 193.9985 | 191.6815 | 184.9876 | 192.3982 | 226.2415 | 264.9606 | 299.8428 | 311.9726 | 309.3541 | 295.9009 | 284.9651 | 299.5247 | 280.3859 | 284.5789 | 309.9382 | 319.8177 | 322.0522 | 308.7997 | 279.3111 | 251.2861 | 228.6071 | 188.0662
1 | 1 | 16 | 68.0844 | 62.4251 | 61.7019 | 56.3389 | 56.754 | 61.9127 | 73.2189 | 86.7599 | 93.0387 | 91.0454 | 92.2656 | 89.4518 | 92.4555 | 95.8245 | 89.4243 | 92.3664 | 94.5759 | 102.5205 | 100.4937 | 94.3928 | 92.4319 | 82.1792 | 75.0505 | 62.5839
1 | 1 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 1 | 18 | 223.5545 | 213.0214 | 195.5365 | 198.903 | 200.3739 | 192.1253 | 246.46 | 280.1034 | 313.3655 | 321.9093 | 321.9966 | 297.9178 | 318.1855 | 316.0413 | 296.0986 | 301.8648 | 330.6532 | 320.6268 | 341.5154 | 305.2787 | 312.875 | 267.8795 | 230.1695 | 215.8541
1 | 1 | 19 | 126.4306 | 110.023 | 104.8112 | 104.0614 | 106.8786 | 104.4804 | 128.2842 | 148.5495 | 167.9533 | 165.8506 | 174.9194 | 169.0069 | 175.9285 | 171.0949 | 173.1684 | 172.2063 | 180.5506 | 177.4647 | 188.5407 | 178.8791 | 167.1491 | 152.7191 | 130.6535 | 111.2901
1 | 1 | 20 | 87.5098 | 78.846 | 73.2208 | 71.5159 | 74.7252 | 78.1833 | 92.8002 | 107.8196 | 119.5137 | 122.7401 | 126.7174 | 126.169 | 117.9685 | 124.7754 | 113.8922 | 117.8226 | 128.4179 | 127.589 | 126.628 | 125.0903 | 113.0404 | 110.2851 | 89.0149 | 80.1889
1 | 1 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 1 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 1 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 1 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
%先列完典型日，再列完场景序号，再列完节点

## WindForeCurve
Scenario | GenName | T1(p.u.) | T2(p.u.) | T3(p.u.) | T4(p.u.) | T5(p.u.) | T6(p.u.) | T7(p.u.) | T8(p.u.) | T9(p.u.) | T10(p.u.) | T11(p.u.) | T12(p.u.) | T13(p.u.) | T14(p.u.) | T15(p.u.) | T16(p.u.) | T17(p.u.) | T18(p.u.) | T19(p.u.) | T20(p.u.) | T21(p.u.) | T22(p.u.) | T23(p.u.) | T24(p.u.)
1 | w1 | 0.44182 | 0.45273 | 0.39818 | 0.25636 | 0.37636 | 0.41455 | 0.41455 | 0.43636 | 0.43636 | 0.42 | 0.32182 | 0.22909 | 0.16909 | 0.20182 | 0.18 | 0.15818 | 0.16364 | 0.22364 | 0.13636 | 0.18 | 0.18 | 0.13091 | 0.12545 | 0.15273
1 | w2 | 0.34211 | 0.3806 | 0.3806 | 0.3806 | 0.37204 | 0.3977 | 0.42764 | 0.42336 | 0.36777 | 0.35066 | 0.27796 | 0.28224 | 0.17533 | 0.18388 | 0.23948 | 0.22665 | 0.20954 | 0.15823 | 0.13257 | 0.16678 | 0.25231 | 0.29935 | 0.27796 | 0.26513
2 | w1 | 0.13091 | 0.39818 | 0.44182 | 0.45273 | 0.45273 | 0.44727 | 0.37636 | 0.38727 | 0.42545 | 0.41455 | 0.42545 | 0.32727 | 0.27273 | 0.32182 | 0.26727 | 0.25091 | 0.26727 | 0.22364 | 0.15818 | 0.24 | 0.24545 | 0.28364 | 0.28364 | 0.23455
2 | w2 | 0.29455 | 0.40364 | 0.39273 | 0.39818 | 0.43636 | 0.44727 | 0.37636 | 0.33273 | 0.37091 | 0.39273 | 0.40909 | 0.39273 | 0.37636 | 0.33818 | 0.32727 | 0.3 | 0.24 | 0.19091 | 0.24 | 0.24 | 0.17455 | 0.15273 | 0.14727 | 0.13636
3 | w1 | 0.38727 | 0.25636 | 0.19636 | 0.41455 | 0.44727 | 0.43091 | 0.14182 | 0.15273 | 0.20727 | 0.17455 | 0.24545 | 0.33273 | 0.49091 | 0.45818 | 0.49091 | 0.52909 | 0.49091 | 0.44727 | 0.49091 | 0.49091 | 0.47455 | 0.39818 | 0.35455 | 0.38182
3 | w2 | 0.31833 | 0.39212 | 0.38666 | 0.38939 | 0.4042 | 0.42249 | 0.402 | 0.37804 | 0.36934 | 0.37169 | 0.34353 | 0.33748 | 0.27585 | 0.26103 | 0.28337 | 0.26332 | 0.22477 | 0.17457 | 0.18628 | 0.20339 | 0.21343 | 0.22604 | 0.21262 | 0.20075

## WindScenarioCurve (hidden)
Day | Scenario | GenName | T1(p.u.) | T2(p.u.) | T3(p.u.) | T4(p.u.) | T5(p.u.) | T6(p.u.) | T7(p.u.) | T8(p.u.) | T9(p.u.) | T10(p.u.) | T11(p.u.) | T12(p.u.) | T13(p.u.) | T14(p.u.) | T15(p.u.) | T16(p.u.) | T17(p.u.) | T18(p.u.) | T19(p.u.) | T20(p.u.) | T21(p.u.) | T22(p.u.) | T23(p.u.) | T24(p.u.)
1 | 1 | w1 | 0.15075 | 0.16423 | 0.19085 | 0.15336 | 0.20181 | 0.35301 | 0.4221 | 0.43233 | 0.42675 | 0.37743 | 0.42696 | 0.39248 | 0.37905 | 0.38804 | 0.43642 | 0.27592 | 0.19846 | 0.16582 | 0.18585 | 0.15982 | 0.1633 | 0.12741 | 0.095384 | 0.11545
%先列完典型日，再列完场景序号，再列完风电机组